PETROLEUM AND NATURAL GAS REGULATORY BOARD
NOTIFICATION
New Delhi, the 23rd November, 2020

F. No PNGRB/Tech/13-IMSCGD/(1)/2019 (P-1384).- In exercise of the powers conferred by section 61 of the Petroleum and Natural Gas Regulatory Act, 2006 (19 of 2006), the Petroleum and Natural Gas Regulatory Board hereby makes the following regulations, further to amend the Petroleum and Natural Gas Regulatory (Integrity Management System for City or Local Natural Gas Distribution Networks) Regulations, 2013, namely:-
1.  (1) These regulations may be called the Petroleum and Natural Gas Regulatory Board (Integrity Management System for City or Local Natural Gas Distribution Networks) Amendment Regulations, 2020.
(2) They shall come into force on the date of their publication in the Official Gazette.

2. In the Petroleum and Natural Gas Regulatory Board (Integrity Management System for City or Local Natural Gas Distribution Networks) Regulations, 2013 (hereinafter referred to as the said Regulations), in regulation 2;- 

(A) in sub-regulation 1;

(i) for clause (d), the following clause shall be substituted, namely: -

‘(d) "risk" means the measure of potential loss in terms of incident probability of occurrence and magnitude of consequences;’;
(ii) clause (e) shall be omitted;
(iii)  for clause (f), the following clause shall be substituted, namely: -

‘(f) “risk assessment” means a systematic process in which potential hazard from facility operation is identified and the likelihood or consequence of potential adverse events is estimated including varying scope performed at varying levels of detail depending on the operator’s objectives;’;
(iv)  for clause (g), the following clauses shall be substituted, namely: -

‘(g) "risk management" means an overall program consisting of identifying potential threat to an area or equipment; assessing the risk associated with those threats in terms of incident likelihood and consequences; mitigating risk by reducing the likelihood, the consequences, or both; and measuring the risk reduction results achieved;
 (h) “Subject Matter Expert” means an individual who possesses knowledge and experience in the process or discipline as per *ASME B 31Q (American Society of Mechanical Engineers B 31Q);’
(B) after sub-regulation (1), the following sub-regulation shall be inserted, namely:-
“(1A) Words and expressions used herein and not defined but defined in the *ASME (American Society of Mechanical Engineers) shall have the meanings assigned to them in the*ASME 31.8S (American Society of Mechanical Engineers 31.8S)”.  
3. In the said Regulations, in regulation 3, after the words, “all the entities”, the words “engaged in” shall be inserted.

4. In the said Regulations, in regulation 5, for the portion  beginning with the words, “These Regulations outline” and ending with the words “networks through”, the words “These Regulations outline the basic features and requirements for developing and implementing an effective and efficient Integrity Management Plan for making them reasonable and prudent operator of city gas distribution networks to manage its integrity and to continue providing safe and reliable delivery of natural gas to its customers through” shall be substituted.

5. In the said Regulations, in regulation 6, the words, letters and figures “Entity operating and maintaining CGD networks shall have the qualified manpower as indicated in Appendix III.” shall be omitted.
6. In the said Regulations, in regulation 7,- 

A. in sub-regulation (1), for the words and letters “through implementation schedule as described in these regulations at Schedule 7 and Schedule 8”, the words and letters “as described in Schedule 7, Schedule 8 and Schedule 9”, shall be substituted;

B.  in sub-regulation (2),- 

(i) after the words, “implementation”, the words, “schedule and compliance” shall be inserted;

(ii) in clause (i), for the portion beginning with the words “within the time” and ending with the words “Act shall apply” the words “with time schedule and make good all short comings within the time schedule and where the entity fails to complete activities within the specified time schedule, relevant penal provisions of the Act shall apply” shall be substituted.
7. In the said Regulations, in regulation 8, for the words, “comply with all”, the words “identify and comply with applicable” shall be substituted.
8. In the said Regulations, in Schedule 1,-
A. in first paragraph,-

(i) for the word “maximum”, the word “optimal” shall be substituted;

(ii) for the words “also minimize business”, the word  “minimize” shall be substituted;

(iii) the words “to attain them” shall be omitted;

B. in third paragraph, for the words “shall be”, the words “shall aim to-” shall be substituted;

C. in item (a), for the word “ensuring”, the word “ensure” shall be substituted;

D. in item (b) for the word “promoting”, the word “promote” shall be substituted;

E. in item (c), for the word “increasing”, the word “enhance” shall be substituted;

F. for item (d), the following item shall be substituted, namely:-
“(d) enhance the life of the *CGD network (City or Local Natural Gas Distribution Network) with implementation of Integrity Management Plan (IMP), Incident Analysis and data collection including periodic review by the entity.”.
9. In the said Regulations, in Schedule 2,-

A. in paragraph 2.1, for the word ‘maximum”, the word, “optimal” shall be substituted;
B. paragraph 2.3 shall be omitted.
10. In the said Regulations, in Schedule 3,-
A. under heading, ‘Physical description’, for the figures and words beginning with, “3.1.1 Sub Transmission Pipeline (STPL)” and ending with the figures and words, “3.1.15 Customer base (PNG, CNG, Industrial and Commercial)”, the following figures and words shall be subistituted, namely: -
“3.1.1
Sub Transmission Pipeline (STPL)

3.1.2
City Gas Station (CGS)

3.1.3
LNG/ LCNG dispensing stations/ LNG Vaporisation skid

3.1.4
Odorization System

3.1.5
Steel pipeline networks

3.1.6
Secondary PE networks

3.1.7
Tertiary networks, PE, GI and/ or copper

3.1.8
District Regulating Station (DRS)

3.1.9
Isolation Valves (Steel, PE)

3.1.10
CNG station-Mother, Online, Daughter Booster Station (DBS)

3.1.11
Compressor at CNG stations

3.1.12
Cascade & Cascade Transport Vehicle (CTV)/ LNG Tank truck

3.1.13
Individual Pressure Regulating Station (IPRS), Common Pressure Regulating Station (CPRS), Metering Station (MRS)

3.1.14
Control room and/or Master Control Station (if any)

3.1.15
Instrumentation and Electrical systems

3.1.16
Supervisory Control and Data Acquisition (if any)

3.1.17
Safety Equipments

3.1.18
Customer base (PNG, CNG, Industrial and Commercial installations)”.

B. under heading, ‘Other description’, sub- paragraphs 3.2.2 and 3.2.4 shall be omitted.
11. In the said Regulations, in Schedule 4,-
A. in sub paragraph 4.2, after the words, “Integrity Management System data”, the words “However, the industry can adopt the performance based type of Integrity Management System based on analysis of the baseline data and subsequent trends.” Shall be substituted;
B. in paragraph 4.3,-

(i) the words beginning with, “Management Plan, Management of Change” and ending with the words “Integrity Management System for CGD Networks”, shall be omitted;

(ii) after the words, “development of Integrity”, the words and letters “Management Plan and Management of Change process pertaining to technical aspects, however, Entity may adopt more rigorous IMP within a prescriptive IMP based on their in-house assessment.” shall be inserted.
12. In the said Regulations, Schedule 5 shall be omitted.

13. In the said Regulations, in Schedule 6,-

A. under heading ‘CGD networks integrity management plan.’, for the descriptions and figures occuring after the words “further detailed hereunder:”  the following description and figures shall be substituted , namely:-
“

[image: image2.emf]1 2 3 4 5 6

Rare Remote Unlikely  Seldom occasional Likely

Extremely Unlikely Very Unlikely Unlikely Improbable Probable

Less than once per 

10,00,000 years

Between once per 

10,00,000 to 

10,000years

Between once per 

10,00,000 to 

10,000years

Less than once per 

10,000 years to 100 

years

Greater than once 

per Year

<10

-6

 Per Year

10

-6

<10

-4

 Per Year

10

-6

<10

-4

 Per Year

10

-4

<10

-2

 Per Year

>1 per Year

6 Catstrophic

- Multiple Fatalities

- Kidnap & Ransom

- 100% Site shutdown

- Site Access prohibited

- Total loss of production



- Presistent damage

- Severe nuisance over large area

- Constant breach of statutory or 

prescribed limits



- Major international impact

- International public attention

- Extensive negative 

international media attention

5 Severe

- Single Fatality

- Shooting / Firearms 

incident

- Major site shutdown

- Substantial site access 

restriction

- Severe damage

- Extended breach of statutory or 

prescribed limits



- Major National impact

- National public attention

- Excessive negative national 

attention

4 Major

- Major Injury

- Lost Time Injury

- Occupational illness

- Burglary

- Violent Assault

- Local damage

- Partial shut down of site

- Limited Access restriction



- Local effect

- Significant damage

- Repeated breach of statutory or 

prescribed limits



- Considerable regional 

impact

 - Regional public concern

-Regional media attention



3 Moderate



- Restricted Work Day

- Medical Treatment



- Disruption to production

- Isolation of Equipment for 

repair

- Theft



Single breach of statutory or 

prescribed limits



- Local media attention 

- Local political attention



2 Minor

- Minor injury

-  Minor Assault

- Minor damage

- Minor effect

- Public complaint

- Limited impact

- Local public concern

1 Incidental

- First Aid

- Negligible damage

- No disruption to 

production

- Silght effect

- Slight impact

- Public Awareness

Qualitative

Extreme Risk area High Risk area Medium Risk area Low Risk area

Quantitiative 

Score

21 to 36 13 to 20 5 to 12 Less than 4



Potential Consequence/Impact / Severity

Frequency / Likelihood

Cat People Asset Environment Reputation


[image: image3.emf]People Asset Environment Reputation

SHORT TERM 

(Soft controls 

supervisory/monit

oring)

LONG TERM

( Physical 

changes/ 

Engineering 

Changes)

1

DRS  Low thickness of the 

piping

Rupture of the pipe 

2

PE pipeline 

Section from 

??? To ???

Exposed in the drainage 

Chamber  line by PWD 

department

Gas leakage into the 

drainage chamber

3

Isolation valve 

nos ???

Valve Hard to operate 

inspite of greasing 

Quick isolation not 

possible

4

Burial of valve 

chamber by 

third party 

Will lead to delay in 

identification and 

operation of valve 

Loss of gas due to 

delay in valve closure 

in the pipeline

5

Domestic 

Connection

Unauthorised extension 

by the customer nos 

???

Improper installation , 

poor selection of 

material, Lack of 

testing procedure



Review Date :

Team members involved in  Review :

AI RISK REGISTER 

Sr. 

No.

Date of 

Reporting

Asset / Section 

Description

Descrption of the Risk 

Hazard / Probable 

Failures

Probability

Impact/Consequence

Overall 

Risk

Decided Mitigation/ Control 

Measures

Action 

Taken

Target date 

for Closure

Completion 

Status

Photo/ 

Evidence

Remarks (Risk 

after action 

taken, risk at 

acceptable level)


  ”

B. under sub-heading, ‘Initial data gathering, review and integration’, after the words “sources to a common location”, the letters “(GIS)”, shall be inserted;
(i) under sub-heading ‘Identification of Threats:’,- 

(a) the figures “21” shall be omitted;
(b) after the word, “threats”, the words and letters, “including electric arching, joint failures and AC or DC interference and other like threat” shall be inserted;
(c) under sub-paragraph heading, ‘Time independent Threats’, after the figure and words, “v. Electric Arching”, the following figure, brackets, letters and words shall be inserted, namely: -
“vi. Joint failures (particularly in PE pipeline)

   vii. AC or DC Interference.”;
(d) under sub-paragraph heading, ‘Weather related and outside force’, the figures and words beginning with “iii. Heavy Rains or Floods” and ending with the figures and words, “iii. River bed movements”, the following figures and words shall be substituted, namely: -
“iii.
Hydro technical: water-related threats including, but not limited to, liquefactions, flooding, channeling, scouring, erosions, floatation, breaches, surges, inundations, tsunamis, ice jams, frost heaves, and avalanches, creek area effects, river meandering, river bed / bank movement

iv.
Geotechnical: earth movement threats including, but not limited to, subsidence, extreme surface loads, seismicity, earthquakes, fault movements, mining, and mud and landslides, muddy land effects

v.
High wind”;
(ii) under sub-heading ‘Consequence and Impact Analysis:’,- 
(a) the portion beginning with the words “Consequence estimation” and  ending with the words  “consequence modelling” shall be omitted;
(b) for the portion beginning with the words “Identification of High” and ending with the words “Areas are identified.” the words “Potential Impact Area –” shall be substituted;
(iii)  under sub-heading ‘Risk Management and Risk Assessment’,
(a) in sub paragraph heading ‘Consequence rating’, after the words “The rating shall be ascending for increasing impact.”, the following words, and figures  shall be inserted, namely: -

“An illustrative 6*6 matrix attached as Appendix III may be used to carry out the risk assessment.  A typical risk register is attached as Appendix IV.”;
(b) for the portion beginning with the words “A company should carry out the following” and ending with the words “can also influence prioritization.” the following words, brackets, figures and letters shall be substituted, namely: -

“Entity to prepare, maintain and update a register of known risks to assets, including their risk rating. 

(a) For Stable threats 

(b) For Time Dependent and time Independent threats,

Stable threats are normally threats which have fixed mitigation measures mostly are policy and procedural based and mostly global/generic in nature whereas Time dependent and time independent are dynamic in nature also they are specific to a section of pipeline or to the specific equipment. A typical risk register is attached as Appendix IV.

Prioritization involves sorting risk ratings in decreasing order. For initial efforts and screening purposes, risk results could be evaluated simply on a “high–medium-low” basis or as a numerical value. Identified high risk activities may be taken up as part of Annual improvement plan (Also called asset integrity improvement plan) for close monitoring.”

(iv) under sub-heading ‘Integrity Assessment’,-
(a) for the portion beginning with the words “A plan shall be developed” and ending with the words and figure “Schedule 5 of these regulations”, the following figures, words brackets and letters shall be substituted, namely:-
“6.1.5.1 Integrity Assessment Tools:

Some of the tools for Integrity assessment are provided below. The operator may use either of the methods (a) or (b) for integrity assessment techniques and as many monitoring tools support systems necessary from (d) to (i) to achieve the Integrity Management Plan for CGD networks, maintaining the compliance with PNGRB T4S regulations. It may be noted that the baseline data for specific measurement should be available with the operator as a ready-reckoner: 

 (a) Direct assessment and evaluation 

Direct assessment is an integrity assessment method utilizing a structured process through which the operator is able to integrate knowledge of the physical characteristics and operating history of a pipeline system or segment with the results of inspection, examination, and evaluation, in order to determine the integrity.
External Corrosion Direct Assessment (ECDA) can be used for determining integrity for the external corrosion threat on CGD network segments. The entity may use NACE SP0502 to conduct ECDA. The ECDA process integrates facilities data, and current and historical field inspections and tests, with the physical characteristics of a pipeline. Nonintrusive (typically aboveground or indirect) inspections are used to estimate the success of the corrosion protection. The ECDA process requires direct examinations and evaluations. Direct examinations and evaluations confirm the ability of the indirect inspections to locate active and past corrosion locations on the pipeline. Post-assessment is required to determine a corrosion rate to set the reinspection interval, reassess the performance metrics and their current applicability, and ensure the assumptions made in the previous steps remain correct. The External Corrosion Direct Assessment process has the following four components, namely:

(a) Pre-assessment;

(b) Inspections;

(c) Examinations and evaluations; and

(d) Post-assessment

While implementing External Corrosion Direct Assessment and when the pipe is exposed, the company is advised to conduct examinations for threats other than that for external corrosion also (like mechanical and coating damages).

(b) Pressure testing

Pressure testing is appropriate for integrity assessment when addressing certain threats, at the pre-commissioning stage and subsequent testing after a pipeline has been put in service. Pressure testing shall comply with the requirements of applicable Petroleum and Natural Gas Regulatory Board regulations.

(c)
Other Integrity Assessment Methodology:

Other proven integrity assessment methods for pipeline may exist for use in managing the integrity of pipeline. For the purpose of these regulations, it is acceptable for an operator to use these inspections as an alternative to pressure testing or direct assessment.

6.1.5.2 Monitoring Tools (O&M)

(d) Thickness assessment and periodic review against baseline values:

Periodic thickness assessment for all CGD network skids, station piping and pressure vessels and comparison to baseline values shall be done once a year. In absence of baseline data first recorded data or design data hall be taken as baseline value with a sound engineering judgment to ensure that the data are within the specified limits as per the design.

Whenever a pipeline is exposed, the entity shall take opportunity to examine the coating and pipe condition by conducting Visual examination, thickness testing and other NDT methods as suitable which can be recorded in GIS/SAP or as suitable. The examination may not be repeated for a similar pipeline segment (but after long time gap, if opportunity exist on same segment then examination can be repeated). The preparation of segments may be carried out as per Table 5 Example of Integrity Management Plan for Hypothetical Pipeline Segment (Segment Data: Line 1, Segment 3) of ASME B31.8S.

(e)  Patrolling:
Patrolling along the Right of Use which includes valve locations and other pipeline facilities, helps to observe pipeline markers, surface conditions, construction activity performed by external agencies, encroachments, soil washouts and any other factors affecting the safety and operation of the pipeline and other specific indication marks along the pipeline.

(f)  Leakage Surveys:
Operating company must have an effective method to identify and locate leakages in the system. Any one or combination of methods described in ASME B 31.8, Appendix M can be adopted based on their effectiveness for the specific areas 

Leakage Surveys using gas detectors shall be done in accordance with the requirements of ASME B 31.8. Gas detectors, duly calibrated, shall be available at all times in ready use conditions for emergency surveys and use.

(g) Cathodic protection system surveys:
Cathodic Protection adequacy survey shall be carried out so as to cover the entire steel network of pipelines so as to detect insufficient Cathodic Protection levels and other irregularities and anomalies in the steel pipeline. Suitable procedures shall be established by the operator to account for adequate Cathodic Protection levels to pipeline extensions and new projects.

(h) Annual maintenance plan 
 The annual maintenance plan covers the following activities, namely:

i. PNG maintenance

a. Service regulators

b. Domestic connections

c. GI Riser maintenance

ii. CNG/LNG/ LCNG Maintenance 

a. Compressors

b. Pumps

c. Dispensers 

d. Cascade cylinder testing (inline with gas cylinder rule)

iii. Network Maintenance

a. Functional testing of CPRS or DPRS or DRS (Periodic stream changeover)  

b. Calibrations of critical inspection, measuring and test instruments (Entity to identify a set of their own safety critical equipment’s)

c. Valve and valve chamber Maintenance

d. Greasing and operations of valves

e. Operation and maintenance of Odorant system

f. Cathodic protection monitoring and maintenance
g. Inspection of casings at crossings

h. Monitoring of Anode Junction box, cathode junction box, Transformer rectifier unit, Insulation Joint

i. Monitoring of HT crossing, river crossing, foreign pipeline crossing.

j. On or Off PSP monitoring of the CP

(i)  Incident Investigations and Root cause analysis 

Entity shall record high potential asset damage and failures to identify repetitive failures leading to initiation of investigation/RCA such failures can be recorded in GIS/SAP or as suitable. Performance indicators can be used as a source to identify theses failures. Other proven integrity assessment methods for pipeline may exist for use in managing the integrity of pipeline. For the purpose of these regulations, it is acceptable for an operator to use these inspections as an alternative to pressure testing or direct assessment. Such other methods for integrity assessment may be also adopted by the CGD entity as it thinks fit, apart from the above-mentioned ones.”;
(v) under the sub-heading ‘Response and Mitigation’,- 
(a) for the portion beginning with the words “This section covers” and ending with the words “on the inspection outcome”, the following words, figures and letters shall be substituted, namely:-
“This section covers the schedule of responses to the abnormalities identified during inspections and maintenance activities as defined in the schedule 6.1.5. A tracker sheet may be developed to capture the abnormalities, response plan and schedule for the closures remedy or eliminate an unsafe condition, and establishment of the future inspection intervals. Such responses may be classified into the following categories, namely:

· Immediately implemented;
· Scheduled over a period of time; and
· Simply monitored based on the inspection outcome.”

(b) after the words beginning with, “(c) Consultation with”, and ending with the words, “course of actions.”, the following words shall be inserted, namely: - 

“A typical tracking sheet is attached as Appendix V.”;
(vi) under the heading ‘Performance Plan’, for the portion beginning with figure, bracket and words  “9) Periodic internal audits” and ending with the words “integrity management program”, the following figure, bracket and words  shall be substituted, namely:-
“9) Periodic internal audits shall be conducted to evaluate the effectiveness of the integrity management plan. The compliance of internal audits recommendations should be ensured in time bound manner to further upgrade the integrity management plan to enhance its effectiveness.”;
(vii) under heading ‘Management of Change Plan’, after the words, “systems and their integrity.”, the following words shall be inserted, namely:-
“Change should also include the changes in specification of materials used for either network or equipment’s.”

(viii) in the heading ‘Quality Control Plan’,-
(a) for the heading ‘Quality Control Plan’, the heading “DOCUMENTATION, RECORDS AND CONTROL” shall be substituted;

(b) for point 3, the following shall be substituted, namely:-
“Prepare standard operation operating procedures and guidelines for critical processes including Non-routine, maintenance, projects etc.”.
(c) after the words  “Internal audits aim”, the word “is” shall be inserted;
(d) in point (b), the brackets, word and figure “(Appendix III)” shall be omitted.
13. In the said Regulations, in Schedule 7,-

A. under the heading ‘Approval of Integrity Management System (IMS)’,- 
(i) for the letters “etc.,”, the words “and all those who will be directly or indirectly affected by our activities,” shall be substituted;
(ii) for the words “constantly and systematically” the word “periodically” shall be substituted;
B. under heading ‘Management Approval’,-
(i) in step#3, after the words “operation”, the words “or Maintenance” shall be inserted;

(ii) in step#4, before the words “Conformity of Integrity”, the words “Verification of” shall be inserted; 
C. the paragraph heading ‘7.2 Acceptance by Petroleum and Natural Gas Regulatory Board’ and the content thereof shall be omitted;
D. for the paragraph heading ‘7.3 Approval for Implementation.’ and the content thereof the following shall be substituted, namely: -.
“• Step#5: Approval of Integrity Management System document for implementation by the Board of the entity for the first time and approval of subsequent periodic review by CEO or Full -time Director of the entity.

• Step#6: Approved IMS document along with confirmation from entity of its implementation shall be submitted to the Board.”;
E. the Note, at the end and the content thereof shall be omitted. 

14. In the said Regulations, for Schedule 8 and Schedule 9, the following Schedules shall be substituted, namely:-

“SCHEDULE-8

                        Implementation Schedule of IMS

	Sr. No.
	Activities
	Time Schedule

	1
	Compliance with Petroleum and Natural Gas Regulatory Board (Technical Standards and Specifications including Safety Standards for City or Local Natural Gas Distribution Networks) Regulations, 2008
	 Confirmation to be submitted to PNGRB along with submission of approved IMS document.

	2
	Preparation of Integrity Management System document and approval by Head of Operation or Maintenance team of the entity.
	1 year from the date of first gas commissioning of the GA*

	3
	Conformity of Integrity Management System document with regulation by TPIA authorized by Petroleum and Natural Gas Regulatory Board. 


	3 months from the approval by Head of Operation/ Maintenance of the entity. 

	4
	Approval for implementation by the Board of the entity for the first time and approval of subsequent periodic review by CEO or Full-time Director of the entity
	Within 3 months from the conformity assessment by Third Party Inspection Agency (TPIA).

	5
	Start of Implementation
	Immediately after approval at Sr. No. 4 above

	6
	Submission of Integrity Management System document to Petroleum and Natural Gas Regulatory Board
	1 month from the approval as mentioned at Sr. No. 4 above.

	7
	Submission of Compliance Statement to Petroleum and Natural Gas Regulatory Board
	Shall be submitted every year to Petroleum and Natural Gas Regulatory Board


 Note: StNote: Steps for implementation to be followed as described in Schedule-7.

“* - For new geographical areas, the above shall be complied within one year of date of commissioning.

                           SCHEDULE-9
Review of The Integrity Management System 

9.1 Periodicity of review of Integrity Management System.

Entities may review their existing Integrity Management System from time to time but not exceeding an interval of every 3 years and update the same if required in accordance with the provisions of Schedule 7 based on the performance of Integrity Management Program and /or changes if any in the statutory / regulatory requirements. However, changes of dynamic nature such as addition, deletion, modification of assets, key personnel, interfaces with other utilities etc. may not require revision in the IMS and the same can be kept updated periodically by the concern entity.

9.2
 Integrity Management System Audit

Audit of the CGD network Integrity Management System shall be performed on a regular basis. The purpose of the audits is to ensure compliance with the policies and procedures as outlined in these regulations. Recommendations and corrective actions taken shall be documented and incorporated into the CGD network Integrity Management System.

The following essential items will be focused for any internal and external audit of the entire Integrity Management System, namely: -
(i) IMS document is developed, approved and is valid;
(ii) Activities are performed in accordance with the Integrity Management System;
(iii) Verify if annual performance measures have been evaluated;
(iv) All action items or non-conformances are closed in a timely manner;
(v) The risk criteria used have been reviewed and documented; and
(vi) Prevention, mitigation and repair criteria have been established, met and documented.

9.3 Frequency of Integrity Management System Audit

There shall be a system for ensuring compliance to the provisions of these regulations by conducting following audits during operation phase, namely:-
(a) Internal Audit - Every year; and
(b) External Audit – Every 3 years in-line with the approved IMS by third party empaneled by the Board.

(1) in Schedule 10, the words beginning with, “Entity will have to” and ending with the words, “Conform to Appendix III” shall be substituted by the following, namely:

“Entity shall have a written plan or philosophy of manning the installations based on activities required for compliance to this regulation and shall address the requirement of manpower for different stages of project, namely: Design, construction, commissioning, operation and maintenance in the above plan.”

(2) in APPENDIX-I, after the point no.8, the following shall be inserted, namely:
“9) ASME B16.34 - Valves - Flanged, Threaded, and Welding End

10)  API 6D – Specification for Pipeline valves

11)  Gas Cylinders Rules, 2016

12)  NACE requirements for Direct Assessment – 

a. SP0206-2016-SG, Internal Corrosion Direct Assessment Methodology for Pipelines Carrying Normally Dry Natural Gas (DG-ICDA); and 
b.
SP0502-2010, Pipeline External Corrosion Direct Assessment Methodology

13)  OISD 179 – Safety requirements in compression, storage, handling & refueling of natural gas (CNG) for use in automotive sector

14)  OISD 226 – Natural gas transmission pipelines and city gas distribution networks 

15)    ISO 11120 - Gas cylinders - Refillable seamless steel tubes of water capacity between 150 I and 3000 1- Design, construction and testing 

16)   ISO 4437 – Buried Polyethylene (PE) pipes for the supply of gaseous fuels

17)   ISO 1239 – Steel tubes, tubulars and other steel fittings – specification.”.
15. In the said Regulations, in APPENDIX-II,-

A. under the column heading ‘Critical infrastructure/ activity/ processes, after the words “ Last Mile Connectivity”, the words, “for domestic customers”, shall be inserted;

B. (b)  after Sr.No.6 the following shall be inserted, namely:- 
“

	Sr.No.
	Critical infrastructure/ activity/ processes
	Time period for implementation

	7
	Commercial and Industrial customers to identify unsafe installation and communicate customers for taking necessary action to make the installation good for carrying gas
	Once in 12 months


”
16. In the said Regulations, for Appendix-III, the following Appendixes shall be substituted, namely: -

“Appendix- III (An illustrative 6*6 matrix)

Appendix-IV

 (Typical risk register)


APPENDIX-V

(Response and Mitigation Tracker Sheet)

[image: image1.emf]Sr no

Name of the 

Activity

Date of the 

finding

Location 

Description of 

abnormality

Categorisation Mitigation plan

Target 

date

Status

Open 

/Closed

Reverificati

on required 

Yes/No date 

REMARKS 

1

Leak survey of 

Station piping 

CGS

Gas continously minor 

passing from Isolation 

valve gasket 

1

Cordened the area , Gasket 

replacement during shutdown , 

Changeover to standby stream 

Open

2

Leak survey of 

Station piping 

CGS

Gas leak False alarm 

continously on 

3

Gas leak checked  with portable 

gas detector no gas detected , 

Service call to the service 

provider, gas leak will be 

monitored again 

Open YES 

3

Patrolling  125 mm PE line exposed 

due to water washout 

3

Increase the frequency of 

patroling / will be rebullit after 

moonsoon

Open  Yes 

4

Cathodic 

protection 

inspection 

Sacrificial anode getting 

degarded due to high 

consumption of current

3

Conduct inspection to identify the 

hot spot

Open YES 

Weekly reading 

will be conducted 

and recorded in 

the format of 

sacrifoscial anode

5

6

7

8

9

10

11

Response and Mitigation Tracker Sheet



VANDANA SHARMA, Secy.
 [ADVT.III/4/Exty./381/2020]

Foot Note: The principal regulations were notified vide no. F. No. INFRA/IMP/CGD/1/2013 dated 16th May, 2013.
Identifying potential pipeline impact by threat (6.1.3)





Gathering, reviewing and Integrating data


(6.1.1)





Review assumptions used in Risk Assessment 





Is risk assessment due or warranted based on review of assumptions? 





Risk Assessment (6.1.4)





Integrity Assessment


(6.1.5)





All threats 


evaluated? 





Response to integrity assessments and mitigation (6.1.6)








2

